# Declaration of Conformance Template

## Requirement

When an application for approval is presented to LARU, a Declaration of Conformance shall be included covering all engineering disciplines relevant to the application.

This declaration shall be provided at every phase of approval (AIP, ATC, ATO) as part of the building submission. The declaration is also necessary for a minor works (MW) submission, with specific notes for MW listed later.

A separate declaration shall be provided for each engineering discipline, i.e. aligned with every chapter (numbers 9 to 18) of the Guidelines.

Every declaration shall be prepared and signed by the respective engineering designer (responsible for the design) and endorsed by a suitable representative (or if applicable, representatives) of the Clinical Team (confirming acknowledgement of the implications of the design on the operational requirements for the facility).

After endorsement by the engineering designer and clinical team(s), the declaration shall be signed by the Licence Holder/Applicant, as the person responsible for the licenced facility.

Engineering designers shall include their credentials confirming compliance with the “Personnel definitions” clause of the Guidelines.

Each signatory is responsible for ensuring the implications of the declaration are accepted by all signatories, including the Licence Holder/Applicant and Clinical Team representatives.

Presenting this declaration of conformance is supplementary to, and not a substitute for, the Contractor’s and Consultant’s certification required at ATO, refer to details in attachments to Appendix “Approval to Occupy (ATO) inspection”.

Declaration for Minor Works (MW) shall be made noting the following items:

proposed building programme (start date, finish date, /or temporary use date range) shall be provided

all building modifications, shall comply with the National Construction Code (NCC), the Western Australian Health Facility Building Guidelines for Architectural Requirements (WAHFG AR) current edition and the Western Australian Health Facility Guidelines for Engineering Services (WAHFG ES) current edition.

the Declarant agrees:

to comply with the Guidelines

that if it is subsequently found that the works do not meet the requirements of the Guidelines, the works shall be rectified to achieve compliance

no dispensations or exemptions from the Guidelines will be granted

A template in the format that shall be used for the Declaration of Conformance is provided on the next page. This template is applicable to all applications; be the project require 3-step approval or it is a minor works application.

Portions of the typical template shown in colour denotes text that shall be modified to reflect the details of the specific application for approval. Note if the application fully conforms with the Guidelines, the schedule of non-conformance shall be shown “N/A”.

Note that the onus is on the signatories of the declaration to ensure that all areas of non-conformance are listed in the declaration and that any aspect not so declared shall be deemed as fully conforming.

## Template

Typical Consultant’s Declaration of Conformance – Template This declaration shall be presented on company letterhead

Declaration of Conformance

Project:  Anywhere Private Hospital

Phase: Approval in Principle (AIP)/Approval to Construct (ATC)/Approval to Occupy (ATO)/Minor Works(MW)

Discipline: Civil/Communications/Electrical/Fire Engineering/Fire Services/Hydraulic/Mechanical/Medical Gases/Security/Structure /Vertical Transportation

Issued to: LARU, Attention: insert name/title of intended recipient

Date: date/month/year

We, the undersigned, are responsible for the design for the services listed above and confirm that the design as presented and detailed conforms to the requirements of WAHFG ES and all associated Codes, Standards and Requirements, with the exception of the following. All areas of non-conformance are listed in the schedule below:

| Clause reference | Requirement | Reason for non-conformance |
| --- | --- | --- |
| Provide details of every non-conformance. Example of non-conformance, below: |  |  |
| 11.17.10 | Switchboards shall be colour coded - in line with colour coding of outlets for AS/NZS 3003 patient areas. | This project is a small extension of an existing ward. To avoid confusion on the site, colours will be kept same as existing which are contrasting for each section but not white, red and blue per AS3003. |

| Endorsed by: | Details | Signature |
| --- | --- | --- |
| Engineer/Designer | Company_ Person_ Qualifications |  |
| Clinical/IP&C team | Company_ Person_ Role |  |

The information contained in this application form is true and correct.  I understand that if it is subsequently established that any information provided is not true or correct, any licence issued may be suspended or revoked. I am duly authorised to make this declaration

| Declaration: | Details | Signature |
| --- | --- | --- |
| Licence Holder/Applicant | Company_ Person_ Role |  |